| Section 1 : General Information |
| --- |
| Department / Function concerned : | Facility Department (Wastewater treatment plant) | CAR No: | CAR-01 |
|  |  | Date: | 10 March 2006 |
| ISO 14001 clause Reference : | 4.5.1 | Reference Procedure : | EP-06 |
| Initiator / Auditor : | S. H. Lau | Auditee (if applicable) : | W. A. Wong |
| Section 2 : Nonconformity Details |
| Details (include where in the organisation the finding was identified) Facility Department did not test total suspended solids for wastewater every 2 months according to license requirement. (Missing in 27February, 2006) |
| Initiator / Auditor : |  | Responsible Departmental Manager: |  |
| Section 3 : Root Cause |
| Details Facility Department did not carry out the wastewater monitoring. |
| Section 4 : Corrective Action |
| Details of proposed action: Facility Manager assigned K.Y. Ko to collect wastewater sample for lab testing on 10/3/2006. |
| Actions to be taken by: | W. A. Wong | Date of action to be completed: | 15 March 2006 |
| Section 5 : Preventive Action |
| Details of proposed action: Facility Manager will ensure that wastewater monitoring will be carried out accordingly and reported to EMR during the monthly production meeting. |
| Actions to be taken by: | W. A. Wong | Date of action to be completed: | On-going |
| Responsible Departmental Manager: | K. Y. Chung | Date : | 11 March 2006 |
| Section 6 : Verification and Close Out |
| Verification details: The test report for sampling on 13 March 2006 was verified and fulfilled the requirement from WPCO license. |
| Verified by : | S.H. Lau |  | Date: | 20 March 2006 |