| Date of the Accident : | 20 January 2006 | Time : | 1030 |
| --- | --- | --- | --- |
| Location : | Production line – Pattern Plating Line |
| Type of Accident : | Chemical spillage near WWTP |
| Detailed Description of the Accident : |
| 10 liters of dilute hydrochloric acid was spilled when the WWP operator (Sam Liu) refilled the acid to the dosage tank of WWTP. |
| Responses / Corrective Actions : |
| Clean up the area immediately, the acid was washed down to the drainage where collected and directed to WWTP. |
| Possible Causes(s) of the Accident: |
| Lack of trainings; The operator did not use the hand pump device for refill chemical solution |
| Suggested Preventive Measures: |
| Plant Manager will brief the WWTP operators again and ensure to apply the hand pump device for any refill of chemical solution |
| Submitted by: | C.M. Yuen | Position: | Production Manager |
| Signature: |  | Date: | 21 January 2006 |

Reviewed by : 	______ Chan Fat __________ 	Date : ____22 January 2006_________