| Section 1 : General Information |
| --- |
| Department / Function concerned : | Facility Department (Wastewater treatment plant) | CAR No: | CAR-01 |
|  |  | Date: | March 12, 2006 |
| ISO 14001 clause Reference : | 4.5.1 | Reference Procedure : | EP-06 |
| Initiator / Auditor : | C. C. Wong | Auditee (if applicable) : | W.A. Wong |
| Section 2 : Nonconformity Details |
| Facility Department did not test Chemical Oxygen Demand (COD) for wastewater every 2 months according to license requirement. (Missing in 20 February, 2006) |
| Initiator / Auditor : |  | Responsible Dept / Function Manager: |  |
| Section 3 : Root Cause |
| Details Facility Department did not carry out the wastewater monitoring. |
| Section 4 : Corrective Action |
| Details of proposed action: Perform the test of COD for wastewater immediately, arrange the collection of wastewater sample with appointed testing lab., closer monitoring to ensure all practice that will comply accordingly. |
| Actions to be taken by: | W.A. Wong | Date of action to be completed: | March 17, 2006 |
| Section 5 : Preventive Action |
| Details of proposed action: Facility Manager will ensure that wastewater monitoring will be carried out accordingly and reported to EMR during the monthly production meeting. |
| Actions to be taken by: | W.A. Wong | Date of action to be completed: | On-going |
| Responsible Dept / Function Manager: | K.Y. Chung | Date : | March 13, 2006 |
| Section 6 : Verification and Close Out |
| Verification details: The test report for sampling on 15 March 2006 was verified and had fulfilled the requirement from WWTP license. |
| Verified by : | S.H. Lau |  | Date: | March 22, 2006 |