HONG KONG GREEN PRINTED CIRCUIT BOARD COMPANY

Environmental Instruction Resource Conservation (EI-07)

Revision No. : 1

Date : 01 – 01 – 2006

| Prepared by : | Chan Fat |
| --- | --- |
|  | (EMR) |
| Approved by : | Wong Ming |
|  | (General Manager) |

###### Revision History

| Revision Date | Description | Sections Affected | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 01-01-2006 | First issue | - - | - - | Wong Ming |

- Purpose

This instruction provides guidelines on the best practices to be adopted for controlling resource consumption of business operation activities.

- Scope

This instruction is applicable to the resource consumption due to daily operations in the facility.

In HKGPCB, large amounts of chemicals and other materials are used during the production process.  Some of the production processes that use large amounts of chemicals are:

- Chemical lab / Physical lab;

- Wastewater treatment system;

- Film preparation;

- Inner dry film etching / Outerlayer etching;

- Desmear;

- Vertical PTH and panel plating / Pattern plating;

- Soldermask; and

- Surface finishing

Some of the materials that should consider using other alternative materials or reduce the amount used are:

- Laminate sheets and dust filters blade from first cut / board cut process

- Black oxide board, prepreg, copper foils and eyelets, release films, waxed cloths, aluminium foils and stainless steel plates from pre-lay up / lay up process

- Aluminum sheet, backup board, acrylic board, and V-cut blade from drilling process

- Procedure

  - Water

- Recycle wastewater wherever applicable and practical.

- All taps are turned off when water is not required.

- All leaks in pipes are repaired once they are identified.

- Fit taps and hoses with flow restricting, water efficient, spray nozzles where possible.

- Ensure water use is not excessive.

  - Diesel

- Select fuel-efficient plant.

- Programme maintenance of the boiler to maintain high-energy efficiency.

- Prevent spillage and leakage through appropriate plant maintenance, storage and handling.

  - Electricity

- Shut off plant and equipment when not in use.

- Select energy efficient lighting, plant and equipment.

- Reduce non-essential load.

  - Chemicals materials

- Ensure chemicals / materials are handled and stored in good conditions to prevent deterioration and wastage.

- Ensure chemicals / materials are not over-applied.

- Influence suppliers / contractors to take away and reuse surplus material.

  - Packaging and other materials

- Ensure plastic bags / paper wrapping are not over-applied.

- Influence customers to reuse the cardboard boxes, wooden pallets or labels.

- Monitoring and Checking

The Administration Department / Purchasing Department shall maintain bills and purchase records to monitor the resource consumption status.

- Records

| Record Description | Record Location/ Retention Responsibility | Minimum Retention Time |
| --- | --- | --- |
| Bills and purchase records (Refer to individual receipt and purchase records) | Administration Department / Purchasing Department | 3 years |

- Appendix

Nil.