Shenzhen Environmental Printed Circuit Board Company

Environmental Instruction Water Pollution Control (EI-06)

Revision No. : 1

Date : 01 – 01 – 2006

| Prepared by : | Jiang Ho |
| --- | --- |
|  | (EMR) |
| Approved by : | Ma Hung |
|  | (Executive Director) |

Revision History

| Revision Date | Description | Sections Affected | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 01-01-2006 | First issue | - - | - - | Ma Hung |

- Purpose

This instruction outlines the practices to be adopted inside the company to control water pollution and to comply with legal and other requirements.

- Scope

This instruction is applicable to the activities and operations in Shenzhen which give rise to discharge of wastewater and its pollutants includes:

Wastewater discharge and grease / oil waste from the factory canteen;

Wastewater discharge from the etching, cleaning, film developing, rinsing processes and chemical laboratory;

These wastewaters are discharged to the treatment facility in Shekou Industrial Zone.

- Procedure

  - Wastewater discharge licence shall be obtained from related Government agency and ensure the wastewater discharged is complied with legal requirements.

  - If the quantity and quality of discharge water changes, the company shall inform related Government agency.

  - General Wastewater Management

- The quality of treated wastewater shall be monitored regularly to ensure the discharge complying with the required standard stated in the wastewater discharge licence.

- Wastewater treatment system shall be maintained regularly to ensure that the system is functioning properly and operating effectively.

- Clean the drains regularly to ensure no drain blockage.

- Visual inspection shall be performed daily to ensure the operation of wastewater treatment system proper.

  - Wastewater (from general cleaning) Management

- Wastewater created from general cleaning activities (e.g. cleaning floor, vehicle, machinery, etc) shall be discharged to foul sewers properly, do not discharge into storm drains.

- Monitoring and Checking

- Visual inspection shall be performed daily to ensure the proper operation of wastewater treatment system.

- Responsible department shall monitor the wastewater quality regularly and inspect the operation status of wastewater discharge system.

- After inspection, staff shall note down the inspection details in the appropriate record sheets.

- Records

| Record Description | Record Location / Retention Responsibility | Minimum Retention Time |
| --- | --- | --- |
| Wastewater discharge, drain connections inspection records (Refer to Engineering Department inspection records) | Engineering Department | 2 years |
| Wastewater quality monitoring records (Refer to wastewater discharge license and related monitoring records) | Engineering Department | 2 years |

- Appendix

Nil.