Shenzhen Environmental aSSEMBLY Company

Environmental Instruction Water Pollution Control (EI-06)

Revision No. : 1

Date : 01 – 01 – 2006

| Prepared by : | Huang Ming |
| --- | --- |
|  | (EMR) |
| Approved by : | Chen DAK |
|  | Director |

###### Revision History

| Revision Date | Description | Sections Affected | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 01-01-2006 | First issue | - - | - - | Chen Dak |

- Purpose

This instruction outlines the practices to be adopted for water pollution control and to comply with legal and other requirements.

- Scope

This instruction is applicable to the activities and operations in Shenzhen which give rise to discharge of wastewater and its pollutants includes:

Wastewater discharge and grease / oil waste from the factory canteen;

Wastewater discharge from the air scrubber during solder point testing and the rinsing processes;

These wastewaters are discharged to the treatment facility in the central wastewater treatment plant.

- Procedure

  - SEAC shall obtain a wastewater discharge license through related government agencies.  The company shall also ensure that all water discharge limits meets the requirements specified in the discharge license.

  - The company shall inform the corresponding government agencies outlined in the licence when a change in the amount or the quality of the discharge occurs.

  - General Wastewater Management

- Storm water drains can only be used for discharging rainwater as well as wastewater that has been treated and has met the requirements specified in the discharge licence.

- Conduct regular inspection to ensure the quality of the treated wastewaters meets the requirements specified by the wastewater discharge licence.

- Perform regular repair and maintenance of the wastewater treatment system to ensure the system is functioning and is operating effectively.

- Conduct regular cleaning of drainage pipes to ensure no garbage is blocking the pipes.

  - Managing Wastewater Generated from Cleaning Activities

- Wastewater generated from general cleaning activities (such as floor cleaning, car washing, machine washing, etc.) should be treated properly.  Do not pour untreated wastewater into storm water drains.

- Conserve the use of water and reused water to minimize wastewater discharge.

- Monitoring and Checking

- The responsible department shall monitor water quality and inspect the operational condition of the wastewater discharge system.

- Personnel must note down the observation in the relevant inspection checklist after completing the inspection.

- Records

| Record Description | Record Location/ Retention Responsibility | Minimum Retention Time |
| --- | --- | --- |
| Repair and Maintenance Records for Wastewater Treatment System | Engineering Department | 2 years |
| Water Quality Monitoring Records | Engineering Department | 2 years |
| Operational Condition of Wastewater Discharge System Records | Engineering Department | 2 years |

- Appendix

Nil.