Hong Kong Green Electroplating Company

Environmental Instruction Noise Pollution Control (EI-06)

Revision No. : 1

Date : 01 – 01 – 2006

| Prepared by : | CC Wong |
| --- | --- |
|  | (EMR) |
| Approved by : | PH Lau |
|  | (General Manager) |

###### Revision History

| Revision Date | Description | Sections Affected | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 01-01-2006 | First issue | - - | - - | PH Lau |

- Purpose

This instruction outlines the practices to be adopted for the control of operational noise to minimise the risk of unacceptable emissions and to comply with legal and other requirements.

- Scope

This instruction is applicable to the activities which have the potential to cause noise pollution and includes best practices for maintenance works.

- In HKGEC, noise arises mainly from general maintenance of equipments such as plating baths or facility equipments (e.g. air conditioning, ventilation system, wastewater treatment plant, etc.)

,

- Procedure

  - Best Practices for Noise Control

    - For the application of machinery / equipment, the Company will consider the following noise control measures :

- Use quieter equipment if practicable and applicable, and locate such equipment at an appropriate site to minimise the potential nuisance from operational noise to neighbour.

- Conduct routine maintenance and maintain records of all inspections and maintenance works

    - Require suppliers / maintenance contractors of noisy equipment / work (such as pumps, welding work, installation) to be cooperative and ensure that noise control measures are adopted during installation and maintenance.

    - Ensure proper signage for employees in areas of excessive noise and the provision of protective equipment to staff according to the safety guidance notes released by relevant government department.

- Monitoring and Checking

The Plant Manager or his / her delegate shall:

- Ensure the effective maintenance of equipment through visual inspection and records review

- Where nonconformity are identified corrective action measures are defined and implemented in accordance with EP-07 Enquiry / Complaint / Nonconformity Handling.

- Records

| Record Description | Record Location/ Retention Responsibility | Minimum Retention Time |
| --- | --- | --- |
| Maintenance schedules / records for equipment (Refer to relevant subcontractors for plant, equipment and vehicles maintenance record) | Plant Manager | 3 years |
| Visual Inspection Records (Refer EF-EP07-01 if found any nonconformity) | Production Manager | 3 years |

- Appendix

Nil.