| Inspected by | W. A. Fong | Date | 11 January 2006 |
| --- | --- | --- | --- |
| Signature |  | Reviewed by | Stanley Chan |

Please tick the appropriate box 0 – serious nonconformity, requires issue of CAR (fill the corrective action request form) 1 – not satisfied, but immediate remedial action was taken and found acceptable 2 - satisfied Important : Please refer to the requirements as defined in EI-03--08Environmental Instructions

| Items to be checked | 0 | 1 | 2 | N/A | Comment / Follow up |
| --- | --- | --- | --- | --- | --- |
| Waste management |  |  |  |  |  |
| Solid wastes (e.g. fluorescent lamps, batteries) are segregated and collected properly? |  |  | ( |  |  |
| All waste containers (e.g. solid wastes, packaging wastes) are stored at designated areas with proper labelling and cover? |  |  | ( |  |  |
| Secondary containment for chemical wastes and adequate ventilation for storage areas are provided? |  |  | ( |  |  |
| Chemical wastes (e.g. chlorine containing solvents) are stored at designated containers and areas? And in good conditions? |  |  | ( |  |  |
| Chemical wastes are properly labelled (in Chinese and in English) and closed? |  |  | ( |  |  |
| Trip tickets and waste disposal records are maintained? |  |  | ( |  |  |
| Air pollution control |  |  |  |  |  |
| Refrigerant maintenance contractors carry out repair and maintenance according to requirements stipulated in the Ozone Layer Protection (Controlled Refrigerants) Regulations? |  |  | ( |  |  |
| Ventilation systems / air treatment equipments (e.g. air scrubbers, filtering system) are properly maintained and in good conditions? |  |  | ( |  |  |
| No abnormal fume / smell is observed? |  |  | ( |  |  |
| Water pollution control |  |  |  |  |  |
| Drip trays are provided underneath equipment for operation, fuelling and maintenance? |  |  | ( |  |  |
| Wastewater treatment equipment is operated properly and in good conditions? |  |  | ( |  |  |
| Wastewater discharge licence is obtained from Environmental Protection Department? |  |  | ( |  |  |
| Noise pollution control |  |  |  |  |  |
| No abnormal noise is observed from equipments and operations? Protective equipment (e.g. earplugs) is provided to employees as well as signage of loud noises are set up in areas of excessive noise? |  |  | ( ( |  |  |
| Resource conservation |  |  |  |  |  |
| Switch off electrical appliances and equipments when they are not in use? |  |  | ( |  |  |
| No running tap (when they are not in use) or water leakage is observed? |  |  | ( |  |  |
| Good housekeeping is observed? |  |  | ( |  |  |
| Handling and storage of chemicals |  |  |  |  |  |
| A list of chemicals and their information sheets are provided and maintained? |  |  | ( |  |  |
| Training (e.g. nature of the chemical, emergency preparedness) is provided to personnel (e.g. employees, storekeepers) handling and storing the chemicals? |  |  | ( |  |  |
| Chemical spillage kits are maintained properly? |  |  | ( |  |  |
| Chemicals are properly labelled (in Chinese and in English) and stored in good conditions? |  |  | ( |  |  |
| Others: |  |  |  |  |  |