| Date of the Accident : | 20 January 2006 | Time : | 0930 |
| --- | --- | --- | --- |
| Location : | Project site (Green Park) Sedimentation tank |
| Type of Accident : | Leakage of chemical wastes |
| Detailed Description of the Accident : |
| A 200 L chemical waste drum was damaged and about 100 L spent lube oil was leaked to ground. |
| Responses / Corrective Actions : |
| Removed the contaminated soil and disposed of as chemical waste. |
| Possible Causes(s) of the Accident: |
| The chemical waste drum, which was located on the road, was crashed by a lorry, and leading to the chemical waste leakage accident. |
| Suggested Preventive Measures: |
| Ensure to locate / store the chemical materials (new or used) properly (e.g. labelling and handling, etc), briefing sections will be given to all frontline staff. |
| Submitted by: | MC Choi | Position: | Project Manager |
| Signature: |  | Date: | 20 January 2006 |
| Reviewed by : |  | Date: | 20 January 2006 |
|  | Y.C. Chan (EMR) – Environmental Manager |  |  |